## 2023Price-Book-CSV-Flat-File (3
Part Number | Description | Qty | Carton Dimensions (Inches) | Ship Weight (Pounds) | 2023 List Pricing
A00031-003 | Valve, TX, R-22, IVE-2.5-GA, MC2436/HP2436 sweat | 1 | 5x5x5 | 2 | 205
A00031-004 | Valve, TX, R-22, IVE-4-GA, MC4260/HP4860 sweat | 1 | 5x5x5 | 2 | 204
A00036-002 | Wheel, Blower, 6.3D x 3.8W SWSI (VP / HP4860) | 1 | 10x10x11 | 4 | 149
A00051-003 | Grille, Filter, UPC-01-2430, 14" x 25" | 1 | 30x22x5 | 4 | 140
A00051-004 | Grille, Filter, UPC-01-3036, UPC-01-3642, 14" x 30" | 1 | 34x19x8 | 4 | 182
A00051-005 | Grille, Filter, UPC-01-1218, 14" x 20" | 1 | 25x22x5 | 4 | 119
A00051-006 | Grille, Filter, UPC-01-4860, 24" x 30" | 1 | 35x35x12 | 6 | 245
A00051-007 | Grille, Filter, UPC-01-4860NC, 20" x 30" | 1 | 35x35x12 | 6 | 192
A00054-001 | Motor, MB2436H, HP2436, VP2436 3450 RPM, .5HP(cap. included) (8WV20) | 1 | 10x10x11 | 21 | 447
A00056-G02 | Relay, Fan (for MB2436, MB4260 & U1218 & M1218 ST2 model) | 1 | 5x5x5 | 1 | 58
A00060-K03 | AFS (Anti Frost Switch), Single (for MC2436, MC4260 & M1218) | 1 | 5x5x5 | 1 | 59
A00060-K04 | AFS (Anti Frost Switch), Double (for all refrigerant coils) | 1 | 5x5x5 | 1 | 83
A00082-002 | Wheel, Blower, 6.3D x 2.0W SWSI (MB2436H & VP/HP 2436) | 1 | 10x10x9 | 4 | 193
A00082-004 | Wheel, Blower, 6.3D x 3.3W SWSI (MB4260H) | 1 | 10x10x10 | 4 | 204
A00095-K01 | Primary Drain Pan M2430 | 1 | 23x8x17 | 10 | 137
A00095-K02 | Primary Drain Pan M3642 | 1 | 33x8x17 | 10 | 149
A00095-K05 | Primary Drain Pan M3036 | 1 | 31x7x4 | 10 | 141
A00122-001 | Coupling, AL, 2" | 1 | 5x5x5 | 1 | 6
A00123-001 | Ring, Tape, 3.5" (no slits) | 1 | 5x5x5 | 1 | 3
A00123-003 | Ring, Tape, 4.0" (no slits) | 1 | 5x5x5 | 1 | 5
A00123-005 | Ring, Tape, 5.0" , 2.0" Duct, Red - R6 | 1 | 5x5x5 | 1 | 6
A00123-006 | Ring, Tape, 5.0", 2.5" Duct, Red - R6 | 1 | 5x5x5 | 1 | 6
A00137-001 | Wheel, Blower, 9.5D x 3.00 SWSI (MB2436L) | 1 | 10x10x11 | 4 | 133
A00137-002 | Wheel, Blower, 9.5D x 4.50 SWSI (MB4260L) | 1 | 10x10x11 | 4 | 142
A00138-001 | Motor, MB2436L 1625 RPM, 1/2 HP (capacitor included) (8WV09) | 1 | 10x10x11 | 21 | 421
A00139-001 | Motor, MB4260L 1625 RPM, 1 HP (capacitor included) (9AKR6) | 1 | 10x10x11 | 23 | 507
A00141-001 | Motor, MB4260H, HP4860, VP4860 3450 RPM, 1 HP (cap. included) (8WV21) | 1 | 10x11x11 | 25 | 583
A00175-K03 | Control Box Assembly (ST2 models) | 1 | 11x11x5 | 10 | 370
A00175-K04 | Control Box Assembly (ACB models) includes A00987-G01 wiring harness | 1 | 15x8x5.5 | 6 | 620
A00175-K07 | SCB Control Box Assembly for 120/230V (EC1/EC2 model) | 1 | 15.5x6.5x5 | 6 | 1015
A00176-001 | Latch, Draw | 1 | 5x5x5 | 1 | 5
A00176-002 | Latch, Keeper | 1 | 5x5x5 | 1 | 4
A00218-002 | Panel, Access, Modular, Solid | 1 | 16x17x4 | 2 | 17
A00244-K01 | AFS Bypass Relay Kit | 1 | 5x5x5 | 1 | 65
A00257-001 | Fuse Link (for WUN series - Temp. 305.6°F/152°C | 1 | 5x5x5 | 1 | 24
A00257-002 | Fuse Link (for WON series - Temp. 249.8°F/121°C | 1 | 5x5x5 | 1 | 32
A00297-001 | Trim Plate for UPC-66/101 (White) | 1 | 8x8x5 | 1 | 8
A00297-002 | Trim Plate for UPC-67TA and UPC-68T (White) | 1 | 8x8x5 | 1 | 8
A00297-002-BLK | Trim Plate Black for, UPC-67TA and UPC-68T | 1 | 8x8x5 | 1 | 8
A00297-002-BRS | Trim Plate Brass for UPC-67TA and UPC-68T | 1 | 8x8x5 | 1 | 8
A00297-002-CHR | Trim Plate Chrome for UPC-67TA and UPC-68T | 1 | 8x8x5 | 1 | 123
A00297-003-B | Trim Plate, Slotted Outlet, Wood, Birch (for UPC-67TA and UPC-68T) | 1 | 16x7x5 | 1 | 121
A00297-003-C | Trim Plate, Slotted, Wood, Cherry (for UPC-67TA and UPC-68T) | 1 | 16x7x5 | 1 | 121
A00297-003-K | Trim Plate, Slotted, Wood, Knotty Pine (for UPC-67TA and UPC-68T) | 1 | 16x7x5 | 1 | 164
A00297-003-MA | Trim Plate, Slotted, Wood, Maple (for UPC-67TA and UPC-68T) | 1 | 16x7x5 | 1 | 118
A00297-003-MH | Trim Plate, Slotted, Wood, Mahogany (for UPC-67TA and UPC-68T) | 1 | 16x7x5 | 1 | 120
A00297-003-PI | Trim Plate, Slotted, Wood, Pine (for UPC-67TA and UPC-68T) | 1 | 16x7x5 | 1 | 137
A00297-003-PO | Trim Plate, Slotted, Wood, Poplar (for UPC-67TA and UPC-68T) | 1 | 16x7x5 | 1 | 118
A00297-003-RO | Trim Plate, Slotted, Wood, Red Oak (for UPC-67TA and UPC-68T) | 1 | 16x7x5 | 1 | 116
A00297-003-WL | Trim Plate, Slotted, Wood, Walnuts (for UPC-67TA and UPC-68T) | 1 | 16x7x5 | 1 | 121
A00297-003-WO | Trim Plate, Slotted, Wood, White Oak (for UPC-67TA and UPC-68T) | 1 | 16x7x5 | 1 | 109
A00326-K01 | Coil Assy, M1218CL-E, Non-Coated | 1 | 26x13x19 | 26 | 835
A00326-K02 | Coil Assy, M1218CL-E, E-Coated | 1 | 26x13x20 | 26 | 1112
A00332-K01 | Primary Drain Pan U1218, M1218 | 1 | 23x9x17 | 15 | 131
A00351-001 | Capacitor, Oval, 7.5 mfd (for motor A01018-G01) | 1 | 5x5x5 | 1 | 20
A00351-003 | Capacitor, Oval, 10 mfd (for motors A001018-G03, G05, G07, G09, G14) | 1 | 5x5x5 | 1 | 42
A00366-002 | Valve, TX, R-410A, CBIZE-1.5 (U1218, M1218), flare, (AC/HP) | 1 | 5x5x5 | 2 | 165
A00392-001 | Line, Liquid 1218 | 1 | 5x5x5 | 1 | 15
A00397-G01 | Coil Assy, Chilled Water, U1218, M1218 | 1 | 26x13x20 | 26 | 704
A00522-001 | Extended Drip Plate | 1 | 40x7x4 | 5 | 257
A00533-001 | Plate, Restrictor, Round Duct, M2430BL1-ST2 | 1 | 8x8x4 | 1 | 13
A00558-001 | Filter, Pleated, 14 x 25 x 1 fits UPC-01-2430, M2430R1 | 1 | 28x17x8 | 4 | 23
A00558-002 | Filter, Pleated, 14 x 30 x 1 fits UPC-01-3036, M3036R1 | 1 | 32x18x8 | 6 | 20
A00558-003 | Filter, Pleated, 18 x 20 x 1 fits M3642V2 | 1 | 21x21x9 | 2 | 20
A00558-004 | Filter, Pleated, 18 x 25 x 1 fits M2430V2 | 1 | 33x29x9 | 2 | 24
A00558-005 | Filter, Pleated, 18 x 18 x 1 fits M3642V2 | 1 | 29x19x8 | 2 | 25
A00558-006 | Filter, Pleated, 24 x 30 x 1 fits UPC-01-4860 | 1 | 31x32x5 | 6 | 24
A00558-007 | Filter, Pleated, 18 x 30 x 1 fits M3036V2 | 1 | 33x29x9 | 2 | 23
A00558-008 | Filter, Pleated, 18 x 22 x 1 fits V3036 | 1 | 26x23x5 | 6 | 27
A00558-009 | Filter, Pleated, 21 x 22 x 1 fits V3642 | 1 | 26x23x5 | 6 | 30
A00558-010 | Filter, Pleated, 14 x 20 x 1 fits UPC-01-1218 | 1 | 21x15x9 | 4 | 14
A00558-011 | Filter, Pleated, 38 x 14 x 1 fits M3642R1 | 1 | 39x22x5 | 2 | 50
A00558-012 | Filter, Pleated, 20 x 30 x 1 fits UPC-01-4860NC | 1 | 33x28x9 | 2 | 22
A00558-013 | Filter, Pleated, 16 x 12 x 1 fits UPC-105-1218 | 1 | 23x9x17 | 2 | 14
A00580-K01 | Wheel, Blower, 9.5D x 7.75 DWDI (M4860BL1-ST2 & +CB) | 1 | 10x10x11 | 4 | 109
A00580-K03 | Wheel, Blower, EC, M4860BL1-EC2/1 | 1 | 10x10x11 | 4 | 139
A00582-K01 | Wheel, Blower, 9.5D x 5.00 DWDI (M3036 and 3642BL1-ST2 & +CB) | 1 | 10x10x11 | 4 | 113
A00582-K03 | Wheel, Blower, EC, M3642BL1-EC2/1, M3036BL1-EC2/1 | 1 | 10x10x11 | 4 | 151
A00584-K01 | Wheel, Blower, 9.5D x 3.75 DWDI (M2430BL1-ST2 & +CB) | 1 | 10x10x11 | 4 | 104
A00584-K03 | Wheel, Blower, EC, M2430BL1-EC2/1 | 1 | 10x10x11 | 4 | 130
A00589-001 | Plate, Restrictor, Round Duct, M3036BL1-ST2 and M3642BL1-ST2 | 1 | 10x10x3 | 1 | 13
A00590-001 | Plate, Restrictor, Round Duct, M4860BL1-ST2 | 1 | 11x11x5 | 1 | 12
A00590-002 | Plate, Restrictor (for all WON series heaters) | 1 | 13x13x3 | 1 | 20
A00757-001 | Wheel, Blower, 9.5D x 1.50 SWSI (U1218, M1218), for ACB, EC2/1, and ST2 | 1 | 10x10x11 | 4 | 153
A00790-K01 | Coil Assy, M3642CL1-B or MC4260C-A or MC3642C,X | 1 | 43x14x22 | 42 | 1299
A00790-K03 | Coil Assy, M3642CL1-B or MC4260C-A or MC3642C,X, E-Coated | 1 | 43x14x22 | 42 | 1481
A00790-K04 | Coil Assy, M3642CR1-B or MC4260C-A or MC3642C,X, E-Coated | 1 | 43x14x22 | 42 | 1511
A00791-K01 | Coil Assy, M2430CL1-B or MC2436C-A or MC2430C,X | 1 | 30x14x22 | 32 | 989
A00791-K03 | Coil Assy, M2430CL1-B or MC2436C-A or MC2430C,X, E-Coated | 1 | 30x14x22 | 32 | 1100
A00791-K04 | Coil Assy, M2430CR1-E or MC2436C-A or MC2430C,X, E-Coated | 1 | 30x14x22 | 32 | 1169
A00792-K01 | Coil Assy, M3642CL1-E or MC4260H or MC3642H,X | 1 | 43x14x22 | 52 | 1315
A00792-K03 | Coil Assy, M3642CL1-E or MC4260H or MC3642H,X, E-Coated | 1 | 43x14x22 | 52 | 1785
A00792-K04 | Coil Assy, M3642CR1-E or MC4260H or MC3642H,X, E-Coated | 1 | 43x14x22 | 52 | 1706
A00793-K01 | Coil Assy, M2430CL1-E or MC2436H or MC2430H,X | 1 | 30x14x22 | 34 | 1116
A00793-K03 | Coil Assy, M2430CL1-E or MC2436H or MC2430H,X, E-Coated | 1 | 30x14x22 | 34 | 1430
A00793-K04 | Coil Assy, M2430CR1-E or MC2436H or MC2430H,X, E-Coated | 1 | 30x14x22 | 34 | 1287
A00795-001 | Control, Variable Speed, 5 amp (for A00175-G02) | 1 | 5x5x5 | 1 | 167
A00802-001 | Relay, Fan (for M2430, 3036, 3642 and 4860 ST2 models) | 1 | 5x5x5 | 1 | 34
A00802-003 | Fan Interlock Relay, 1-pole | 1 | 5x5x5 | 1 | 65
A00808-002 | Valve, TX, R-22, CBIVE-2 (MC2430H/MC2430C), chatleff thread | 1 | 5x5x5 | 2 | 173
A00808-004 | Valve, TX, R-22, CBIVE-3 (MC3642H/MC3642C), chatleff thread | 1 | 5x5x5 | 2 | 177
A00808-005 | Valve, TX, R-22, CBIVE-4 (MC4860H, MC4860C), chatleff thread | 1 | 5x5x5 | 2 | 177
A00808-K13 | Valve, TX, R-410A, CBBIZE-2 (MC2430HX/CX), chatleff thread 2430 B &E | 1 | 5x5x5 | 2 | 174
A00808-K14 | Valve, TX, R-410A, CBBIZE-3 (MC3642HX/CX), chatleff thread 3642 B & E or 3036 B & E | 1 | 5x5x5 | 2 | 174
A00808-K15 | Valve, TX, R-410A, CBBIZE-4 (MC4860HX/CX), 4860 B & E | 1 | 5x5x5 | 2 | 190
A00809-001 | Seal, TXV, O-Ring, Teflon | 1 | 5x5x5 | 1 | 5
A00811-K01 | Coil Assy, M4860CL1-B or MC4860C,X | 1 | 45x29x20 | 52 | 1538
A00811-K02 | Coil Assy, M4860CL1-B or MC4860C,X, E-Coated | 1 | 45x29x20 | 52 | 2165
A00811-K03 | Coil Assy, M4860CL1-E or MC4860H,X | 1 | 45x29x20 | 58 | 2011
A00811-K04 | Coil Assy, M4860CL1-E or MC4860H,X, E-Coated | 1 | 45x29x20 | 58 | 2636
A00835-G01 | Primary Drain Pan M4860 | 1 | 42x18x26 | 25 | 381
A00915-G03 | Thermostat, Universal, Single-Stage 1-Heat/1-Cool, Programmable | 1 | 8x8x4 | 2 | 177
A00915-G04 | Thermostat, Universal, Multi-Stage 2-Heat/1-Cool, Programmable | 1 | 8x8x4 | 2 | 290
A00915-G05 | Thermostat, Universal, Multi-Stage, Touch-Screen, 3-Heat/2-Cool, Programmable | 1 | 8x8x4 | 2 | 565
A00921-001 | Plate, Restrictor, Square Duct, M2430BL1-ST2 | 1 | 8x8x4 | 1 | 13
A00922-001 | Plate, Restrictor, Square Duct, M3036BL1-ST2 and M3642BL1-ST2 | 1 | 10x10x3 | 1 | 13
A00923-001 | Plate, Restrictor, Square Duct, M4860BL1-ST2 | 1 | 13x13x3 | 1 | 20
A00924-G05 | Kit, U-Trap w/Float Switch, Cooling Module (EZT - 241-3/4") | 1 | 10x10x11 | 4 | 118
A00924-G06 | Kit, U-Trap w/Float Switch, M1218 (EZT - 242-1/2") | 1 | 10x10x11 | 4 | 121
A00985-G01 | Harness, adapter, ACB to MP motor | 1 | 5x5x5 | 1 | 41
A01002-013 | Slow blow fuse, 2.5 amps (for ACB boards) | 1 | 5x5x5 | 1 | 4
A01007-G01 | Adapter, Supply, WON Heater, 7" diameter | 1 | 13x13x4 | 2 | 86
A01007-G02 | Adapter, Supply, WON Heater, 9" diameter | 1 | 13x13x4 | 2 | 86
A01007-G03 | Adapter, Supply, WON Heater, 10" diameter** | 1 | 13x13x4 | 2 | 65
A01008-G01 | Adapter, Supply, WON Heater, (for 6.5" sq. fiberglass) | 1 | 13x13x3 | 2 | 84
A01008-G02 | Adapter, Supply, WON Heater, (for 8.5" sq. fiberglass) | 1 | 13x13x3 | 4 | 86
A01011-001 | Auto Limit, L-145 (WUN series) | 1 | 5x5x5 | 1 | 37
A01011-002 | Auto Limit, 2-PL65 (WON series) | 1 | 5x5x5 | 1 | 73
A01012-001 | Sequencer, 1-pole (WUN or WON series) | 1 | 5x5x5 | 1 | 85
A01012-002 | Sequencer, 2-pole (WUN or WON series) | 1 | 5x5x5 | 1 | 106
A01013-001 | Contactor, Heater Element, 1-pole | 1 | 5x5x5 | 1 | 89
A01013-002 | Contactor, Heater Element, 2-pole | 1 | 5x5x5 | 1 | 86
A01018-G01 | Motor, M1218 (3-speed) (7.5uf capacitor included) | 1 | 10x10x11 | 18 | 451
A01018-G03 | Motor, MP High Efficiency, M1218+CB (10uf capacitor included) | 1 | 10x10x11 | 23 | 483
A01018-G05 | Motor, M2430BL1-ST2 (10uf capacitor included) | 1 | 10x10x11 | 20 | 479
A01018-G07 | Motor, MP High Efficiency, MB2430L+CB (10uf capacitor included) | 1 | 10x10x11 | 20 | 511
A01018-G09 | Motor, M3036BL1-ST2, M3642BL1-ST2 and M4860BL1-ST2 (10uf capacitor included) | 1 | 10x10x11 | 23 | 534
A01018-G14 | Motor, MP High Eff. MB3642L+CB & MB4860L+CB (10uf cap included) | 1 | 10x10x11 | 23 | 566
A01018-G20 | Motor Kit, 1218, 2430 ,EC | 1 | 10x10x10 | 20 | 1006
A01018-G21 | Motor Kit, 3036/3642/4860 ,EC | 1 | 10x10x10 | 20 | 1350
A01023-G01 | Line, Liquid, AC, 2430, 3036, 3642 | 1 | 5x5x5 | 1 | 27
A01024-G01 | Line, Liquid, HP, 2430, 3036, 3642 | 1 | 5x5x5 | 1 | 28
A01044-G01 | Line, Liquid, 4860 | 1 | 5x5x5 | 1 | 21
A01051-215 | Breaker, 2-pole, 15 amp (blower circuit - WON series) | 1 | 5x5x5 | 1 | 248
A01051-225 | Breaker, 2-pole, 25 amp (WON**02 series) | 1 | 5x5x5 | 1 | 240
A01051-240 | Breaker, 2-pole, 40 amp (WON**02 series) | 1 | 5x5x5 | 1 | 240
A01051-250 | Breaker, 2-pole, 50 amp (WON**02 series) | 1 | 5x5x5 | 1 | 240
A01051-325 | Breaker, 3-pole, 25 amp (WON**04 series) | 1 | 5x5x5 | 1 | 240
A01051-340 | Breaker, 3-pole, 40 amp (WON**04 series) | 1 | 5x5x5 | 1 | 240
A01051-360 | Breaker, 3-pole, 60 amp (WON**04 series) | 1 | 5x5x5 | 1 | 240
A01057-G01 | Slotted Outlet Extension Kit 4", for UPC-67TA and UPC-68T | 1 | 17x17x5 | 1 | 35
A01102-001 | Plugs, Winter Shut-off (Slotted outlet - UPC-67TA & UPC-68T) | 1 | 5x5x5 | 1 | 5
A01126-G01 | Coil Assy, Chilled Water, M4860CL1-C or MC4860W | 1 | 45x29x20 | 58 | 1879
A01241-001 | Jumper Bar, Heater, 4 pole | 1 | 5x5x5 | 1 | 101
A01241-002 | Jumper Bar, Heater, 6 pole | 1 | 5x5x5 | 1 | 145
A01346-001 | Supply Outlet, 2.5", Flangeless, Black | 1 | 5x5x5 | 1 | 6
A01373-G01 | Motor mount kit, U1218, M1218 | 1 | 10x10x11 | 2 | 80
A01373-G02 | Motor mount kit, M2430, M3642, M3036, M4860 | 1 | 10x10x11 | 2 | 64
A01412-001 | Slow blow fuse, 2 amps (for SCB & ACB2 boards) | 1 | 5x5x6 | 1 | 4
A01469-K03 | Circuit Board, SCB (All EC1 & EC2 Products) | 1 | 11x11x5 | 6 | 553
A01470-K01 | Control Board, USB for SCB (daughter board) | 1 | 5x5x5 | 1 | 73
A01473-G01 | Harness, Wire, SCB/USB to ECM | 1 | 5x5x5 | 1 | 61
A01474-G01 | Harness, Wire, SCB to USB | 1 | 5x5x5 | 1 | 37
A01484-001 | Relay, 1 Pole (Requires A01485 rectifier) | 1 | 5x5x5 | 1 | 25
A01484-002 | Relay, 2 Pole (Requires A02141 rectifier) | 1 | 5x5x6 | 1 | 60
A01485-001 | Rectifier, 5 Second Delay - CRR9-5 (Requires A01484-001 relay) | 1 | 5x5x5 | 1 | 18
A01485-003 | Rectifier, 9 Second Delay - CRR9-9 (Requires A01484-001 relay) | 1 | 5x5x5 | 1 | 18
A01502-001 | Gasket, Round, Flanged Outlet, 2" | 1 | 5x5x5 | 1 | 3
A01502-001-K05 | Gasket, for underside of 2" round, flanged outlet (5 pcs) | 5 | 5x5x5 | 1 | 23
A01502-002 | Gasket, Round, Flanged Outlet, 2.5" | 1 | 5x5x5 | 1 | 3
A01502-002-K05 | Gasket, Round, Flanged Outlet, 2.5" (5 pieces) | 5 | 5x5x5 | 1 | 34
A01525-G01 | Cable Extension, ECM (CE), 59" | 1 | 10x10x11 | 3 | 705
A01543-K22 | Kit, Upgrade, SCB with EC Motor, for M2430 | 1 | 16x20x29 | 20 | 2226
A01543-K23 | Kit, Upgrade, SCB with EC Motor, for M3642 | 1 | 16x20x29 | 20 | 2539
A01543-K24 | Kit, Upgrade, SCB with EC Motor, for M4860 | 1 | 16x20x29 | 20 | 2589
A01622-K01 | Coil Assy Kit, M3036CL1-B | 1 | 35x14x22 | 68 | 985
A01622-K04 | Coil Assy Kit, M3036CL1-B, E-Coated | 1 | 35x14x22 | 68 | 1297
A01622-K05 | Coil Assy Kit, M3036CR1-E, E-Coated | 1 | 35x14x22 | 68 | 1359
A01665-K01 | Coil Assy Kit, M3036CL-C (Chilled Water Coil) | 1 | 35x14x22 | 42 | 1487
A01665-K02 | Coil Assy Kit, M2430CL-C (Chilled Water Coil) | 1 | 30x14x22 | 42 | 1295
A01665-K03 | Coil Assy Kit, M3642CL-C (Chilled Water Coil) | 1 | 43x14x22 | 42 | 1810
A01673-001 | Air Pressure Switch | 1 | 5x5x5 | 1 | 164
A01674-K01 | Air Pressure Switch (Upgrade Kit Electric Furnace) | 1 | 5x5x5 | 1 | 148
A01729-004 | Supply Outlet, Flangeless, Black | 1 | 5x5x5 | 1 | 7
A01736-K02 | Coil Assy Kit, M3036CL-E | 1 | 35x14x22 | 29 | 1425
A01736-K04 | Coil Assy Kit, M3036CL-E, E-Coated | 1 | 35x14x22 | 29 | 1738
A01736-K05 | Coil Assy Kit, M3036CR-E, E-Coated | 1 | 35x14x22 | 29 | 1801
A01802-K01 | Circuit Board, Replacement Board for all blowers with ACB | 1 | 10x10x5 | 3 | 585
A01834-K04 | CB Assy, US, iSeries | 1 | 15.5x6.5x5 | 6 | 1205
A01835-K02 | Coil Assy Kit, M2430CL-A (iSeries) | 1 | 30x14x22 | 29 | 1199
A01854-G01 | Harness, Wire, Extension, RAT | 1 | 5x5x5 | 1 | 13
A01855-G01 | Harness, Wire, Extension, ICT | 1 | 5x5x5 | 1 | 12
A01858-K01 | Coil Assy Kit, M3036CL-A (iSeries) | 1 | 35x14x22 | 42 | 1412
A01862-K01 | Kit, Sensors, Coil and Return Air Temperature, Argo | 1 | 5x5x5 | 1 | 48
A01882-K01 | SCB Control Box Assembly for 120/230V, (EC1/EC2) AHU, Vertical | 1 | 15x8x6 | 10 | 664
A01882-K04 | Ctrl box Assy, iSERIES, Vertical, US | 1 | 8x6x15 | 10 | 1401
A01914-G01 | Coil Assy, V2430-H | 1 | 25x20x17 | 30 | 1630
A01914-G01-C | Coil Assy, V2430-H, E-Coated | 1 | 25x20x17 | 30 | 1943
A01926-001 | Remote Control, iSeries | 1 | 10x10x11 | 1 | 38
A01948-G01 | Coil Assy, V2430-B | 1 | 23x23x22 | 30 | 1262
A01948-G01-C | Coil Assy, V2430-B, E-Coated | 1 | 23x23x22 | 30 | 1575
A01950-G01 | Coil Assy, V3036-E | 1 | 29x21x17 | 34 | 1781
A01950-G01-C | Coil Assy, V3036-E, E-Coated | 1 | 29x21x17 | 34 | 2092
A01951-G01 | Coil Assy, V3036-B | 1 | 29x21x17 | 34 | 1348
A01951-G01-C | Coil Assy, V3036-B, E-Coated | 1 | 29x21x17 | 34 | 1660
A01957-G01 | Coil Assy, V3642-E | 1 | 32x30x24 | 38 | 1941
A01957-G01-C | Coil Assy, V3642-E, E-Coated | 1 | 32x30x24 | 38 | 2412
A01958-G01 | Coil Assy, V3642-B | 1 | 32x30x24 | 40 | 1551
A01958-G01-C | Coil Assy, V3642-B, E-Coated | 1 | 32x30x24 | 40 | 2019
A01971-001 | Fuse, Fast Acting, 5 X 20mm, 3.15 AMP | 1 | 5x5x5 | 1 | 4
A01971-002 | Fuse, Fast Acting, 5 X 20mm, 100 mA | 1 | 5x5x5 | 1 | 8
A02008-G01 | PCB, Expansion, 4V, DCI (G65/80/110) | 1 | 5x5x5 | 1 | 113
A02009-G01 | Wiring Harness, Indoor, Boiler Changeover Jumper | 1 | 5x5x5 | 1 | 3
A02010-K01 | Kit, Splitter Adapter, iSeries, 3036 | 1 | 5x5x5 | 5 | 81
A02131-K01 | Kit, Serial Programming & Diagnostics, iSeries | 1 | 5x5x5 | 1 | 182
A02401-G01 | Stack, Element, Complete, 3.75 (No Revision - Model # WON0752) | 1 | 10x10x10 | 3 | 212
A02401-G04 | Stack, Element, Complete, 4.8k (No Revision - Model # WON0502, WON1002, WON1502 and WON2002 | 1 | 10x10x10 | 3 | 212
A02401-G08 | Stack, Element, Complete, 4.8k (Revision A - Model #'s WON0502-A, WON1002-A, WON1502-A and WON2002-A) | 1 | 10x10x10 | 3 | 212
A02401-G08X | Heater Element Stack, Complete, 2 Section, 4.8kW each section (Revision A - Model # WON1002-A) | 1 | 10x10x10 | 6 | 424
A02401-G13 | Stack, Element, Complete, 4.8k (Revision B or C - Model #'s WON0502-B or C, WON1002-B or C, WON1502-B or C and WON2002-B or C | 1 | 10x10x10 | 3 | 212
A02401-G13X | Heater Element Stack, Complete, 2 Section, 4.8kW each section (Revision B and C - Model # WON1002-B or C) | 1 | 16.75x11x 9 | 6 | 424
A02401-G14X | Heater, Element Stack, Complete, 3 Section, 4.8kW each section (Revision B and C - Model # WON1502-B or C) | 1 | 16.75x11x 9 | 9 | 636
A02401-G15X | Heater Element Stack, Complete, 4 Section, 4.8kW each section (Revision B and C - Model # WON2002-B or C) | 1 | 16.75x11x9 | 12 | 848
A02141-001 | Rectifier, 5 Second Delay (Requires A01484-002 relay) | 1 | 5x5x6 | 1 | 18
A02141-003 | Rectifier, 9 Second Delay, (WON0752-C, 1002-C, 1502-C) (Requires A01484-002 relay) | 1 | 5x5x5 | 1 | 18
A02141-005 | Rectifier, 18 Second Delay, (All WON1502-C, 2002-C) (Requires A01484-002 relay) | 1 | 5x5x5 | 1 | 18
A02165-G01 | PCB Assy, Main, IS24G050 w/heatsink | 1 | 18x18x12 | 10 | 1205
A02165-G02 | PCB Assy, Main, IS24G065 w/heatsink | 1 | 18x18x12 | 10 | 1301
A02165-G03 | PCB Assy, Main, IS30G080 w/heatsink | 1 | 18x18x12 | 10 | 1464
A02165-G04 | PCB Assy, Main, IS36G110 w/heatsink | 1 | 18x18x12 | 10 | 1497
A02389-G01 | Coil Assy, V2430-C (Chilled Water) | 1 | 34x16x18 | 29 | 1646
A02395-G01 | Coil Assy, V3036-C (Chilled Water) | 1 | 29x22x18 | 36 | 1822
A02396-G01 | Coil Assy, V3642-C (Chilled Water) | 1 | 28x21x20 | 36 | 2010
A02624-G01 | Harness, Wiring, ECM 120/208/230V | 1 | 5x5x5 | 1 | 50
A02647-G01 | UV Light | 1 | 11.5x11.5x5.5 | 4 | 798
A02649-G01 | UV Replacement Bulb | 1 | 10x10x10 | 2 | 123
A02654-001 | Filter Pleated, 14x25x1, MERV 13 | 1 | 27.88x14.25x12.88 | 2 | 22
A02654-002 | Filter Pleated, 14x30x1, MERV 13 | 1 | 30.50x15x15 | 2 | 25
A02654-003 | Filter Pleated, 18x20x1, MERV 13 | 1 | 28.75x18x15.5 | 2 | 23
A02654-004 | Filter Pleated, 18x25x1, MERV 13 | 1 | 27.63x18x15.5 | 2 | 23
A02654-005 | Filter Pleated, 18x18x1, MERV 13 | 1 | 19x18x15.5 | 2 | 24
A02654-006 | Filter Pleated, 24x30x1, MERV 13 | 1 | 30.75x31x4 | 2 | 29
A02654-007 | Filter Pleated, 18x30x1, MERV 13 | 1 | 30.13x21.13x11.6 | 2 | 42
A02654-008 | Filter Pleated, 18x22x1, MERV 13 | 1 | 27.6x18x15.5 | 2 | 25
A02654-009 | Filter Pleated, 21x22x1, MERV 13 | 1 | 30.1x21x11.6 | 2 | 36
A02654-010 | Filter Pleated, 20x14x1, MERV 13 | 1 | 20.7x14.6x8.6 | 2 | 15
A02654-011 | Filter Pleated, 14x38x1, MERV 13 | 1 | 44x30.5x1.5 | 2 | 53
A02654-012 | Filter Pleated, 20x30x1, MERV 13 | 1 | 30.13x21.13x11.6 | 2 | 25
A02654-013 | Filter Pleated, 16x12x1, MERV 13 | 1 | 17.75x12.25x5.25 | 2 | 15
A02701-K01 | Dual voltage transformer, 120-208-230V/24V, For all model blowers | 1 | 5x5x5 | 1 | 82
HW-1218 | Hot Water Coil Only | 1 | 25x11x7 | 12 | 496
HW-2430 | Coil, Hot Water (fits M2430CL1-X, M2430V2) | 1 | 33x8x17 | 33 | 920
HW-3036 | Coil, Hot Water (fits M3036CL1-X, M3036V2) | 1 | 45x8x17 | 48 | 1148
HW-3642 | Coil, Hot Water (fits M3642CL1-X, M3642V2) | 1 | 45x8x17 | 48 | 1239
HW-4860 | Coil, Hot Water (fits M4860CL1-X, M4860V2) | 1 | 45x8x17 | 48 | 1239
HW-V2430 | Hot Water Coil for V2430 | 1 | 29x8x19 | 33 | 1006
HW-V3036 | Hot Water Coil for V3036 | 1 | 29x8x19 | 48 | 1133
HW-V3642 | Hot Water Coil for V3642 | 1 | 31x8x22 | 48 | 1333
M1218BL1-EA2 | Module, Blower with iSeries Inverter Control Board EC Motor 208/230V | 1 | 24x22x14 | 60 | 3669
M1218BL1-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V | 1 | 24x22x14 | 60 | 2328
M1218BL2-ST2 | Module, Blower, Standard Control, Single Speed, 208/230V only | 1 | 24x22x14 | 60 | 1435
M1218CL1-A | Module, Heat Pump Coil iSeries Inverter | 1 | 24x22x14 | 60 | 1353
M1218CL1-C | Module, Chilled Water Coil | 1 | 24x22x14 | 60 | 1127
M1218CL1-E | Module, Refrigerant Coil (6 Row)*(HP) | 1 | 24x22x14 | 60 | 1681
M1218CL1-E0C | Module, Refrigerant Coil (6 Row)*(HP), E-Coated | 1 | 24x22x14 | 60 | 1784
M1218CL1-H | Module, Heating (with Hot Water Coil) | 1 | 24x22x14 | 60 | 841
M1218CL1-X | Module, Heating (without Hot Water Coil) | 1 | 24x22x14 | 60 | 425
M2430BL1-EA2 | Module, Blower with iSeries Inverter Control Board EC Motor 208/230V | 1 | 29x16x20 | 62 | 2823
M2430BL1-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V | 1 | 29x16x20 | 62 | 2328
M2430BL2-ST2 | Module, Blower, Standard Control, Single Speed, 208/230V only | 1 | 29x16x20 | 62 | 1490
M2430BR1-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V Right hand | 1 | 29x16x20 | 62 | 2487
M2430CL1-A | Module, Heat Pump Coil iSeries Inverter | 1 | 29x16x20 | 60 | 1850
M2430CL1-B | Module, Refrigerant Coil (4 Row)*(AC) | 1 | 29x16x20 | 60 | 1834
M2430CL1-B0C | Module, Refrigerant Coil (4 Row)*(AC), E-Coated | 1 | 29x16x20 | 60 | 2147
M2430CL1-C | Module, Chilled Water Coil | 1 | 29x16x20 | 60 | 2030
M2430CL1-E | Module, Refrigerant Coil (6 Row)*(HP) | 1 | 29x16x20 | 60 | 2025
M2430CL1-E0C | Module, Refrigerant Coil (6 Row)*(HP), E-Coated | 1 | 29x16x20 | 60 | 2337
M2430CL1-H | Module, Heating (with Hot Water Coil) | 1 | 32x16x19 | 53 | 1254
M2430CL1-X | Module, Heating (without Hot Water Coil) | 1 | 32x16x19 | 20 | 345
M2430CR1-E | Module, Refrigerant Coil, (6 Row) (HP) Right hand | 1 | 29x16x20 | 60 | 2071
M2430R1 | Module, Horizontal Multiple Return Air (Includes Filter) | 1 | 29x16x20 | 33 | 387
M2430V2 | Module, Vertical Plenum (includes Spacer & Filter) | 1 | 29x27x20 | 33 | 873
M3036BL1-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V | 1 | 34x16x20 | 73 | 2626
M3036BL2-ST2 | Module, Blower, Standard Control, Single Speed, 208/230V only | 1 | 34x16x20 | 73 | 1544
M3036BR1-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V Right hand | 1 | 34x16x20 | 73 | 2631
M3036CL1-B | Module, Refrigerant Coil (4 Row)*(AC) | 1 | 34x16x20 | 78 | 2263
M3036CL1-B0C | Module, Refrigerant Coil (4 Row)*(AC), E-Coated | 1 | 34x16x20 | 78 | 2511
M3036CL1-C | Module, Cooling (with Chilled Water Coil) | 1 | 34x16x20 | 78 | 2434
M3036CL1-E | Module, Refrigerant Coil (6 Row)*(HP) | 1 | 34x16x20 | 78 | 2414
M3036CL1-E0C | Module, Refrigerant Coil (6 Row)*(HP), E-Coated | 1 | 34x16x20 | 78 | 2727
M3036CL1-H | Module, Heating (with Hot Water Coil) | 1 | 38x16x19 | 76 | 1568
M3036CL1-X | Module, Heating (without Hot Water Coil) | 1 | 38x16x19 | 28 | 370
M3036CR1-E | Module, Refrigerant Coil, (6 Row) (HP) Right hand | 1 | 34x16x20 | 78 | 2486
M3036CR1-E0C | Module, Refrigerant Coil, (6 Row) (HP) Right hand, E-Coated | 1 | 34x16x20 | 78 | 2798
M3036R1 | Module, Horizontal Multiple Return Air For 3036, (Includes filter) | 1 | 34x16x20 | 30 | 485
M3036V2 | Module, Vertical Plenum (includes Spacer Module and filters) | 1 | 34x27x20 | 45 | 1148
M3642BL1-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V | 1 | 42x16x20 | 73 | 2656
M3642BL2-ST2 | Module, Blower, Standard Control, Single Speed, 208/230V only | 1 | 42x16x20 | 73 | 1664
M3642BR1-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V Right hand | 1 | 42x16x20 | 73 | 2688
M3642CL1-B | Module, Refrigerant Coil (4 Row)* (AC) | 1 | 42x16x20 | 78 | 2313
M3642CL1-B0C | Module, Refrigerant Coil (4 Row)* (AC), E-Coated | 1 | 42x16x20 | 78 | 2764
M3642CL1-C | Module, Chilled Water Coil | 1 | 42x16x20 | 78 | 2579
M3642CL1-E | Module, Refrigerant Coil (6 Row)* (HP) | 1 | 42x16x20 | 78 | 2511
M3642CL1-E0C | Module, Refrigerant Coil (6 Row)* (HP), E-Coated | 1 | 42x16x20 | 78 | 2981
M3642CL1-H | Module, Heating (with Hot Water Coil) | 1 | 42x14x18 | 76 | 1741
M3642CL1-X | Module, Heating (without Hot Water Coil) | 1 | 42x14x18 | 28 | 395
M3642CR1-E | Module, Refrigerant Coil, (6 Row) (HP) Right hand | 1 | 42x16x20 | 78 | 2638
M3642R1 | Module, Horizontal Multiple Return Air (Includes Filter) | 1 | 42x16x20 | 30 | 497
M3642V2 | Module, Vertical Plenum (includes Spacer & Filter) | 1 | 42x26x20 | 45 | 1181
M4860BL1-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V | 1 | 42x16x20 | 73 | 2806
M4860BL2-ST2 | Module, Blower, Standard Control, Single Speed, 208/230V only | 1 | 42x16x20 | 73 | 1961
M4860BR1-EC2 | Module, Blower, SCB Variable Speed ECM, 120/208/230V Right hand | 1 | 42x16x20 | 73 | 2902
M4860CL1-B | Module, Refrigerant Coil (3 Row)* (AC) | 1 | 42x18x26 | 88 | 3271
M4860CL1-B0C | Module, Refrigerant Coil (3 Row)* (AC), E-Coated | 1 | 42x18x26 | 88 | 3788
M4860CL1-C | Module, Chilled Water Coil | 1 | 42x18x26 | 88 | 3525
M4860CL1-E | Module, Refrigerant Coil (4 Row)* (HP) | 1 | 42x18x26 | 88 | 3565
M4860CL1-E0C | Module, Refrigerant Coil (4 Row)* (HP), E-Coated | 1 | 42x18x26 | 88 | 4082
M4860CL1-H | Module, Heating (with Hot Water Coil) | 1 | 45x16x19 | 88 | 1741
M4860CL1-X | Module, Heating (without Hot Water Coil) | 1 | 45x16x19 | 28 | 395
M4860CR1-E | Module, Refrigerant Coil, (4 Row) (HP) Right hand | 1 | 42x18x26 | 88 | 3315
M4860R1 | Module, Horizontal Multiple Return Air (Includes Filter) | 1 | 42x16x20 | 30 | 497
M4860V2 | Module, Vertical Plenum (includes Filter) | 1 | 42x31x20 | 45 | 1128
THRMS-1800 | Cocoon Heater, Single Chamber, 1800 sq. ft | 1 | 25x20x37 | 137 | 6644
THRMS-3200 | Cocoon Heater, Single Chamber, 3200 sq. ft | 1 | 25x20x37 | 212 | 10592
Turbometer | Air Velocity meter, Turbometer® | 1 | 8x8x5 | 1 | 313
UPC-01-1218 | Return Air Box with Grille and Filter, 14" x 20" | 1 | 23x9x17 | 8 | 268
UPC-01-2430 | Return Air Box with Grille and Filter, 14" x 25" | 1 | 23x8x17 | 8 | 288
UPC-01-3036 | Return Air Box with Grille and Filter, 14" x 30" | 1 | 33x8x17 | 10 | 332
UPC-01-3642 | Return Air Box with Grille and Filter, 14" x 30" | 1 | 33x8x17 | 10 | 332
UPC-01-4860 | Return Air Box with Grille and Filter, 24" x 30" | 1 | 8.5x27.5x33 | 16 | 473
UPC-01-4860NC | Return Air Box with Grille and Filter, 20" x 30" | 1 | 8.5x27.5x33 | 16 | 421
UPC-04-1218 | Return Air Duct , 12" D x 10 ft. | 1 | 26x18x18 | 9 | 184
UPC-04-2430 | Return Air Duct , R-4.2, 14" D x 10 ft. | 1 | 18x18x26 | 9 | 228
UPC-04-3036 | Return Air Duct , R-4.2, 16" D x 10 ft. | 1 | 22x22x29 | 14 | 326
UPC-04-3642 | Return Air Duct , R-4.2, 18" D x 10 ft. | 1 | 22x22x29 | 14 | 326
UPC-04-4860 | Return Air Duct, R-4.2, 20" D x 10 ft. | 1 | 22x22x29 | 18 | 338
UPC-04R6-1218 | Return Air Duct, R-6.0 12" D x 10 ft | 1 | 27x18x18 | 12 | 240
UPC-04R6-2430 | Return Air Duct , R-6.0, 14" D x 10 ft. | 1 | 19x18x26 | 12 | 302
UPC-04R6-3036 | Return Air Duct , R-6.0, 16" D x 10 ft. | 1 | 22x22x29 | 17 | 378
UPC-04R6-3642 | Return Air Duct , R-6.0, 18" D x 10 ft. | 1 | 22x22x29 | 17 | 378
UPC-04R6-4860 | Return Air Duct, R-6.0, 20" D x 10 ft. | 1 | 23x22x29 | 21 | 429
UPC-04R8-1218 | Return Air Duct, R-8.0 12" D x 10 ft | 1 | 28x18x18 | 15 | 245
UPC-04R8-2430 | Return Air Duct , R-8.0, 14" D x 10 ft. | 1 | 20x18x26 | 15 | 307
UPC-04R8-3036 | Return Air Duct , R-8.0, 16" D x 10 ft. | 1 | 22x22x29 | 20 | 386
UPC-04R8-3642 | Return Air Duct , R-8.0, 18" D x 10 ft. | 1 | 22x22x29 | 20 | 386
UPC-04R8-4860 | Return Air Duct, R-8.0 20" D x 10 ft | 1 | 24x22x29 | 24 | 452
UPC-101 | Supply Outlet Kit, Slotted, Plastic, White (for plenum duct) | 1 | 8x8x5 | 1 | 48
UPC-104-1218 | Return Air Adaptor, for 12" duct | 1 | 19x5x13 | 30 | 135
UPC-104-2430 | Return Air Adapter (fits to M2430CL1-X or H, M2430V2), 14" duct | 1 | 26x22x5 | 6 | 231
UPC-104-3036 | Return Air Adapter (fits M3036CL1-X or HM3036V2 Module) 16" duct | 1 | 39x22x5 | 9 | 263
UPC-104-3642 | Return Air Adapter (fits to M3642CL1-X or H, M3642V2), for 18" duct | 1 | 39x22x5 | 9 | 282
UPC-104-4860 | Return Air Adapter (fits to M4860CL1-X or H, M4860V2) for 20" duct | 1 | 39x22x5 | 14 | 282
UPC-105-1218 | Return Air Adaptor, for 12" duct with filter rack and filter | 1 | 19x5x14 | 30 | 519
UPC-11-065S-4 | Turning Vane, Square, 6.5" | 4 | 13x13x10.5 | 5 | 118
UPC-11-07R-4 | Turning Vane, Round Duct, 7" | 4 | 10x10x11 | 5 | 98
UPC-11-085S-4 | Turning Vane, Square, 8.5" | 4 | 23x10x11 | 5 | 162
UPC-11-095S-4 | Turning Vane, Square, 9.5" | 4 | 23x10x11 | 6 | 176
UPC-11-09R-4 | Turning Vane, Round Duct, 9" | 4 | 13x13x10.5 | 5 | 134
UPC-11-10R-4 | Turning Vane, Round Duct, 10" | 4 | 13x13x10.5 | 5 | 177
UPC-12-065R6-4 | Duct, Fiberglass, 6.5" x 6.5" I.D. x 6' long | 4 | 73x19x19 | 40 | 896
UPC-12-065S6-4 | Duct, Fiberglass, 6.5" x 6.5" I.D. x 6' long | 4 | 18x18x72 | 30 | 806
UPC-12-065S6-8F | Duct, Fiberglass, 6.5" x 6.5" x 6' long, Flat (unassembled) | 8 | 34x8x72 | 60 | 1042
UPC-12-085R6-4 | Duct, Fiberglass, 8.5" x 8.5" x 6' long | 4 | 73x22x22 | 51 | 969
UPC-12-085S6-4 | Duct, Fiberglass, 8.5" x 8.5" x 6' long | 4 | 21.5x21.5x72 | 34 | 824
UPC-12-085S6-8F | Duct, Fiberglass, 8.5" x 8.5" x 6' long, Flat (unassembled) | 8 | 42x8x72 | 68 | 1186
UPC-12-095S6-4 | Duct, Fiberglass, 9.5" x 9.5" x 6' long | 4 | 24x24x72 | 40 | 1015
UPC-15-065R6-4 | End Caps, Fiberglass for 6.5" x 6.5" duct | 4 | 11x11x16 | 2 | 39
UPC-15-065S-4 | End Caps, Fiberglass for 6.5" x 6.5" duct | 4 | 8x8x5 | 1 | 48
UPC-15-085R6-4 | End Caps, Fiberglass for 8.5" x 8.5" duct | 4 | 12x12x16 | 2 | 71
UPC-15-085S-4 | End Caps, Fiberglass for 8.5" x 8.5" duct | 4 | 10x10x5 | 2 | 75
UPC-15-095R6-4 | End Caps, Fiberglass for 9.5" x 9.5" duct | 4 | 12x12x16 | 2 | 410
UPC-15-095S-4 | End Caps, Fiberglass for 9.5" x 9.5" duct | 4 | 10x11x17 | 2 | 92
UPC-16V-065R6-4 | Tee, Full Flow, Fiberglass, 6.5" x 6.5" I.D., 4 pack (w/ Turning Vane) | 4 | 36x25x22 | 20 | 572
UPC-16V-065S-1 | Tee, Full Flow, Fiberglass, 6.5" x 6.5" I.D. (w/ Turning Vane) | 1 | 14x16x9 | 4 | 180
UPC-16V-065S-4 | Tee, Full Flow, Fiberglass, 6.5" x 6.5" I.D., 4 pack (w/ Turning Vane) | 4 | 32x21x18 | 12 | 605
UPC-16V-085R6-4 | Tee, Full Flow, Fiberglass, 8.5" x 8.5" I.D., 4 pack (w/ Turning Vane) | 4 | 40x28x24 | 35 | 691
UPC-16V-085S-1 | Tee, Full Flow, Fiberglass, 8.5" x 8.5" I.D. (w/ Turning Vane) | 1 | 29x16x20 | 5 | 197
UPC-16V-085S-4 | Tee, Full Flow, Fiberglass, 8.5" x 8.5" I.D., 4 pack (w/ Turning Vane) | 4 | 27x20.5x47 | 14 | 605
UPC-16V-095R6-4 | Tee, Full Flow, Fiberglass, 9.5" x 9.5" I.D., 4 pack (w/ Turning Vane) | 4 | 44x32x26 | 40 | 866
UPC-16V-095S-1 | Tee, Full Flow, Fiberglass, 9.5" x 9.5" I.D. (w/ Turning Vane) | 1 | 29x16x20 | 6 | 210
UPC-16V-095S-4 | Tee, Full Flow, Fiberglass, 9.5" x 9.5" I.D., 4 pack (w/ Turning Vane) | 4 | 27x20.5x47 | 15 | 674
UPC-17 | Tape, Thermal (iron on), UL 181A-H, 3" x 350' | 1 | 8x8x4 | 2 | 146
UPC-17B-FX | Tape, Pressure Sensitive (aluminum), UL 181A-P - 181B-F/X, 2.5" x 180' | 1 | 8x8x4 | 2 | 67
UPC-18-065R6-4 | Elbow, 90°, Fiberglass, 6.5" x 6.5" I.D, 4 pack | 4 | 26x25x24 | 14 | 401
UPC-18-065S-1 | Elbow, 90°, Fiberglass, 6.5" x 6.5" I.D. | 1 | 14x14x9 | 2 | 119
UPC-18-065S-4 | Elbow, 90°, Fiberglass, 6.5" x 6.5" I.D., 4 pack | 4 | 30x18x18 | 9 | 405
UPC-18-085R6-4 | Elbow, 90°, Fiberglass, 8.5" x 8.5" I.D, 4 pack | 4 | 28x25x27 | 20 | 381
UPC-18-085S-1 | Elbow, 90°, Fiberglass, 8.5" x 8.5" I.D | 1 | 29x16x20 | 3 | 121
UPC-18-085S-4 | Elbow, 90°, Fiberglass, 8.5" x 8.5" I.D, 4 pack | 4 | 24x23.5x45 | 15 | 435
UPC-18-095R6-4 | Elbow, 90°, Fiberglass, 9.5" x 9.5" I.D, 4 pack | 4 | 32x20x26 | 22 | 608
UPC-18-095S-1 | Elbow, 90°, Fiberglass, 9.5" x 9.5" I.D. | 1 | 29x16x20 | 3 | 152
UPC-18-095S-4 | Elbow, 90°, Fiberglass, 9.5" x 9.5" I.D., 4 pack | 4 | 24x23.5x45 | 15 | 493
UPC-19V-090707 | Tee, Reducer, Galv., 9" x 7" x 7" (with Turning Vane) | 1 | 23x15x13 | 4 | 86
UPC-19V-100909 | Galvanized Reducer Tee, 10" x 9" x 9" (with turning vane) | 1 | 23x15x13 | 5 | 103
UPC-20B | Secondary Drain Pan (2 Module 2430) | 1 | 29x32x2 | 11 | 149
UPC-20C | Secondary Drain Pan (3 Module 2430) | 1 | 29x44x2 | 14 | 164
UPC-22 | Take-off, Spin-In for 1.5" fiberglass duct board kit | 1 | 5x5x5 | 1 | 32
UPC-225-1 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-3.3 single length | 1 | 32x31x4 | 9 | 219
UPC-225-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L R-3.3 (75 ft total) | 3 | 34x34x12 | 30 | 577
UPC-225-R4-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-4.2 (75 ft total) | 3 | 34x34x12 | 58 | 728
UPC-225-R6-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-6.0 (75 ft total) | 3 | 38x38x19 | 58 | 985
UPC-225-R8-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-8.0 (75 ft total) | 3 | 38x38x19 | 61 | 1077
UPC-226-5 | Sound Attenuator Tubing, 2.5" ID x 12'L R-3.3(60 ft total) | 5 | 24x24x23 | 28 | 477
UPC-226D-R4-5 | Sound Attenuator, Double Vapor Barrier, 2.5"x12' R-4.2 (5 pcs) | 5 | 24x24x23 | 28 | 608
UPC-226-R4-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-4.2 (60 ft total) | 5 | 24x24x23 | 32 | 562
UPC-226-R6-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-6.0 (60 ft total) | 5 | 26x26x33 | 36 | 762
UPC-226-R8-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-8.0 (60 ft total) | 5 | 26x26x33 | 40 | 886
UPC-228 | Take-off, 2.5" for round metal plenum (Includes gasket) | 1 | 5x5x5 | 1 | 41
UPC-228F | Flat Take-off, 2.5" for square metal plenum (Includes gasket) | 1 | 5x5x5 | 1 | 48
UPC-235-5 | 2.5" Balancing Kit for plenum take-offs | 5 | 5x5x5 | 1 | 92
UPC-238-10 | Coupling, Duct, 2.5" Includes Clamps (makes 10 couplings/box) | 10 | 10x10x11 | 3 | 248
UPC-23B | Take-off, Spin-in for 1" fiberglass duct board kit | 1 | 5x5x5 | 1 | 35
UPC-242-20 | Winter shut-off plug, 2.5" Round Outlet, 20pk | 20 | 5x5x5 | 1 | 41
UPC-245-5 | Deflector, Air, 2.5" Outlet | 5 | 5x5x5 | 1 | 61
UPC-24B | Secondary Drain Pan (2 Module 3642) | 1 | 42x44x2 | 14 | 183
UPC-24C | Secondary Drain Pan (3 Module 3642) | 1 | 42x44x2 | 20 | 194
UPC-24D | Secondary Drain Pan (3 Module 4860) | 1 | 44x54x2 | 24 | 216
UPC-252-50 | Clamps, 2.5" Aluminum Supply Tubing (black) | 50 | 5x5x5 | 1 | 116
UPC-253-50 | Clamps, 2.5" Sound Attenuator (silver) | 50 | 5x5x5 | 1 | 116
UPC-256 | Supply Outlet, 2.5", Round, Plastic, White | 1 | 5x5x5 | 1 | 27
UPC-256B-BLK | Supply Outlet, 2.5", Round, Plastic, Black | 1 | 5x5x5 | 1 | 80
UPC-256B-BRS | Supply Outlet, 2.5", Round, Plastic, Brass Finish | 1 | 5x5x5 | 1 | 39
UPC-256B-CHR | Supply Outlet, 2.5", Round, Plastic, Chrome Finish | 1 | 5x5x5 | 1 | 27
UPC-257-B | Supply Outlet, 2.5", Round, Wood, Birch | 1 | 5x5x5 | 1 | 125
UPC-257-C | Supply Outlet, 2.5", Round, Wood, Cherry | 1 | 5x5x5 | 1 | 109
UPC-257-K | Supply Outlet, 2.5", Round, Wood, Knotty Pine | 1 | 5x5x5 | 1 | 249
UPC-257-MA | Supply Outlet, 2.5", Round, Wood, Maple | 1 | 5x5x5 | 1 | 149
UPC-257-MH | Supply Outlet, 2.5", Round, Wood, Mahogany | 1 | 5x5x5 | 1 | 139
UPC-257-PI | Supply Outlet, 2.5", Round, Wood, Pine | 1 | 5x5x5 | 1 | 178
UPC-257-PO | Supply Outlet, 2.5", Round, Wood, Poplar | 1 | 5x5x5 | 1 | 104
UPC-257-RO | Supply Outlet, 2.5", Round, Wood, Red Oak | 1 | 5x5x5 | 1 | 160
UPC-257-WL | Supply Outlet, 2.5", Round, Wood, Walnut | 1 | 5x5x5 | 1 | 186
UPC-257-WO | Supply Outlet, 2.5", Round, Wood, White Oak | 1 | 5x5x5 | 1 | 149
UPC-25T-1 | Supply Tubing, TFS, Couplings Attached, Aluminum, 2" ID x 25'L, R-3.3, single length (25 ft. per box) | 1 | 32x31x4 | 9 | 194
UPC-25T-4 | Supply Tubing, TFS, Couplings Attached, Aluminum, 2" ID x 25'L, R-3.3 (100 ft. per box) | 4 | 31x15x31 | 30 | 650
UPC-25T-R4-1 | Supply Tubing, TFS, Couplings Attached, Aluminum, 2" ID x 25'L, R-4.2, single length (25 ft. per box) | 1 | 32x31x4 | 10 | 232
UPC-25T-R4-4 | Supply Tubing, TFS, Couplings Attached, Aluminum, 2" ID x 25'L, R-4.2 (100 ft. per box) | 4 | 32x30x15 | 58 | 860
UPC-25T-R6-1 | Supply Tubing, TFS, Couplings Attached, Aluminum, 2" ID x 25'L, R-6.0, single length (25 ft. per box) | 1 | 32x31x4 | 10 | 282
UPC-25T-R6-4 | Supply Tubing, TFS, Couplings Attached, Aluminum, 2" ID x 25'L, R-6.0 (100 ft. per box) | 4 | 37x37x22 | 58 | 1055
UPC-25T-R8-1 | Supply Tubing, TFS, Couplings Attached, Aluminum, 2" ID x 25'L, R-8.0, single length (25 ft. per box) | 1 | 32x31x4 | 10 | 313
UPC-25T-R8-4 | Supply Tubing, TFS, Couplings Attached, Aluminum, 2" ID x 25'L, R-8.0 (100 ft. per box) | 4 | 37x37x22 | 61 | 1164
UPC-26TC03-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-3.3, single length (3 ft. per box) | 1 | 10.5x10.5x10.5 | 2 | 61
UPC-26TC03-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-3.3, (18 ft. per box) | 6 | 22.5x5.25x38.5 | 7 | 337
UPC-26TC03R4-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-4.2, single length (3 ft. per box) | 1 | 10.5x10.5x10.5 | 2 | 67
UPC-26TC03R4-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-4.2 (18 ft. per box) | 6 | 22.5x5.25x38.5 | 7 | 369
UPC-26TC03R6-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-6.0, single length (3 ft. per box) | 1 | 10.25x10.5x10.5 | 2 | 91
UPC-26TC03R6-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-6.0 (18 ft. per box) | 6 | 34.5x6.25x34.5 | 7 | 528
UPC-26TC03R8-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-8.0, single length (3 ft. per box) | 1 | 10.5x10.5x10.5 | 3 | 104
UPC-26TC03R8-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 3'L, R-8.0 (18 ft. per box) | 6 | 34.5x6.25x34.5 | 8 | 614
UPC-26TC-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-3.3, single length (12 ft. per box) | 1 | 25x25x6 | 5 | 119
UPC-26TC-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-3.3 (72 ft. per box) | 6 | 24x24x23 | 28 | 538
UPC-26TCR4-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-4.2, single length (12 ft. per box) | 1 | 32x31x4 | 6 | 131
UPC-26TCR4-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-4.2 (72 ft. per box) | 6 | 24x24x23 | 32 | 582
UPC-26TCR6-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-6.0, single length (12 ft. per box) | 1 | 25x25x6 | 6 | 176
UPC-26TCR6-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-6.0 (72 ft. per box) | 6 | 26x26x33 | 36 | 846
UPC-26TCR8-1 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-8.0, single length (12 ft. per box) | 1 | 25x25x6 | 6 | 200
UPC-26TCR8-6 | Sound Attenuator Tubing, TFS, Couplings Attached 2" ID x 12'L, R-8.0 (72 ft. per box) | 6 | 26x26x33 | 40 | 983
UPC-26TD03R4-1 | Sound Attenuator Tubing, Double Vapor Barrier, TFS, Couplings Attached 2" ID x 3'L, R-4.2, single length (3 ft. per box) | 1 | 10.5x10.5x10.5 | 3 | 81
UPC-26TD03R4-6 | Sound Attenuator Tubing, Double Vapor Barrier, TFS, Couplings Attached 2" ID x 3'L, R-4.2 (18 ft. per box) | 6 | 22.5x5.25x38.5 | 7 | 429
UPC-26TDR4-1 | Sound Attenuator, Double Vapor Barrier, TFS, Couplings Attached, 2" ID x12'L, R-4.2, single length (12 ft. per box) | 1 | 25x25x6 | 6 | 151
UPC-26TDR4-6 | Sound Attenuator, Double Vapor Barrier, TFS, Couplings Attached, 2" ID x12'L, R-4.2 (72 ft. per box) | 6 | 26x26x33 | 36 | 688
UPC-27B | Secondary Drain Pan (2 Module 3036) | 1 | 45x42x2 | 14 | 176
UPC-27C | Secondary Drain Pan (3 Module 3036) | 1 | 45x42x2 | 20 | 184
UPC-280M-1 | Outlet Kit, 2.5", Metal Plenum (single outlet) Includes Supply Outlet, 12' R-3.3 Attenuator Tube, Metal Plenum Take Off, Winter Shutoff Cap, (2) Scrim Core Clamps(silver), (2)Aluminum Clamps(black), Coupling with Tape Rings, (1) Balancing Orifice Kit | 1 | 26x22x5 | 5 | 204
UPC-280MF-1 | Installation Kit, 2.5" Flat Metal Plenum, 1/box | 1 | 24x24x6 | 5 | 192
UPC-280MR6-1 | Outlet Kit, 2.5", Metal Plenum (single outlet) Includes Supply Outlet, 12' R-6 Attenuator Tube, Metal Plenum Take Off, Winter Shutoff Cap, (2) Scrim Core Clamps, (2) Aluminum Clamps and a Coupling with Tape Rings, Balancing Orifice Kit | 1 | 26x22x5 | 8 | 338
UPC-286-5 | Frame-in Kits, 2.5" | 5 | 10x11x17 | 5 | 176
UPC-288-20 | Screen, Outlet, 2.5", White | 20 | 5x5x5 | 1 | 84
UPC-288-20-BLK | Screen, Outlet, 2.5", Black | 20 | 5x5x5 | 1 | 68
UPC-289M-5 | Installation Kit, 2.5", Round Metal Plenum (5 outlets) Includes (5) Supply Outlets, (5) Metal Take Offs, (5) Winter Supply Shutoff Caps, (10) Scrim Core Clamps(silver), (10) Toggles and Screws, (10) Aluminum Core Clamps (black), (1) Balancing Orifice Kit, (5) Couplings with (10) Tape Rings | 5 | 10x10x10 | 5 | 357
UPC-289MF-5 | Installation Kit, 2.5", Rectangular Metal Plenum (5 outlets) Includes (5) Supply Outlets, (5) Metal Take Offs, (5) Winter Supply Shutoff Caps, (10) Scrim Core Clamps(silver), (10) Toggles and Screws, (10) Aluminum Core Clamps (black), (1) Balancing Orifice Kit, (5) Couplings with (10) Tape Rings | 5 | 14x14x14 | 8 | 357
UPC-28T-1 | TFS, Take-off, for round metal plenum Includes gasket | 1 | 5x5x5 | 1 | 24
UPC-28T-6 | TFS, Take-off, for round metal plenum Includes gasket (6 pcs) | 6 | 8x8x5 | 5 | 148
UPC-28TF-1 | TFS, Take-off, for flat metal plenum Includes gasket | 1 | 5x5x5 | 1 | 30
UPC-28TF-6 | TFS, Take-off, for flat metal plenum Includes gasket (6 pcs) | 6 | 8x8x5 | 5 | 164
UPC-29-8565R6-1 | Reducer, Fiberglass, 8.5" sq. x 6.5" sq. | 1 | 23x15x14 | 5 | 142
UPC-29-8565S-1 | Reducer, Fiberglass, 8.5" sq. x 6.5" sq. | 1 | 23x12x11 | 3 | 110
UPC-29-9565R6-1 | Reducer, Fiberglass, 9.5" sq. x 6.5" sq. | 1 | 23x15x14 | 5 | 164
UPC-29-9565S-1 | Reducer, Fiberglass, 9.5" sq. x 6.5" sq. | 1 | 23x15x14 | 3 | 110
UPC-29-9585R6-1 | Reducer, Fiberglass, 9.5" sq. x 8.5" sq. | 1 | 23x15x14 | 5 | 164
UPC-29-9585S-1 | Reducer, Fiberglass, 9.5" sq. x 8.5" sq. | 1 | 23x15x14 | 3 | 110
UPC-35-15 | Balancing Kit for plenum take-offs | 15 | 5x5x5 | 1 | 81
UPC-36-15 | Balancing Kit 2" for round outlets | 15 | 5x5x5 | 1 | 59
UPC-38TC-1 | Coupling Kit, TFS, 2" Duct, 1 Couplings, makes 1 connection | 1 | 5x5x5 | 1 | 42
UPC-38TC-6 | Coupling Kit, TFS, 2" Duct, 6 Couplings, makes 6 connections | 6 | 10x10x11 | 3 | 245
UPC-38TC-B-1 | Coupling Kit, TFS, 2" Duct, R3.3, Black, 1 Couplings, makes 1 connection | 1 | 5.5x5.5x5.5 | 1 | 42
UPC-38TC-B-6 | Coupling Kit, TFS, 2" Duct, R3.3, Black, 6 Couplings, makes 6 connections | 6 | 10.5x10.5x10.5 | 3 | 240
UPC-38TCR6-B-1 | Coupling Kit, TFS, 2" Duct, R6, Black, 1 Couplings, makes 1 connection | 1 | 8x8x4.375 | 1 | 42
UPC-38TCR6-B-6 | Coupling Kit, TFS, 2" Duct, R6, Black, 6 Couplings, makes 6 connections | 6 | 10.5x10.5x10.5 | 3 | 240
UPC-38TCR6-W-1 | Coupling Kit, TFS, 2" Duct, R6, White, 1 Couplings, makes 1 connection | 1 | 8x8x4.375 | 1 | 42
UPC-38TCR6-W-6 | Coupling Kit, TFS, 2" Duct, R6, White, 6 Couplings, makes 6 connections | 6 | 10.5x10.5x10.5 | 3 | 240
UPC-38TC-W-1 | Coupling Kit, TFS, 2" Duct, R3.3, White, 1 Couplings, makes 1 connection | 1 | 5.5x5.5x5.5 | 1 | 42
UPC-38TC-W-6 | Coupling Kit, TFS, 2" Duct, R3.3, White, 6 Couplings, makes 6 connections | 6 | 10.5x10.5x10.5 | 3 | 240
UPC-42-20 | Plugs, Winter Shut-off for 2" outlets (20/box) | 20 | 5x5x5 | 1 | 42
UPC-45-5 | Deflector, Air, Outlet | 5 | 5x5x5 | 1 | 67
UPC-51 | Hardware Pkg, Outlet Includes (12) toggles and screws | 12 | 5x5x5 | 1 | 28
UPC-52-50 | Clamps, Aluminum Supply Tubing (black) | 50 | 5x5x5 | 1 | 53
UPC-53-50 | Clamps, Sound Attenuator (silver) | 50 | 5x5x5 | 1 | 53
UPC-54 | Pliers, Clamp | 1 | 5x5x5 | 1 | 86
UPC-55-5 | Hole Cutter, fiberglass duct board, 2" ("Cookie-cutter") | 5 | 5x5x5 | 1 | 112
UPC-56FR-1 | Supply Outlet, Round, Plastic, White, Fire-Rated 1-hour (UL555C) | 1 | 5x5x5 | 1 | 87
UPC-56TB-1 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 | 5x5x5 | 1 | 14
UPC-56TB-6 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 61
UPC-56TB-BLK-1 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 | 5x5x5 | 1 | 14
UPC-56TB-BLK-6 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 61
UPC-56TB-BRS-1 | Brass Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 | 5x5x5 | 1 | 24
UPC-56TB-BRS-6 | Brass Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 137
UPC-56TB-CHR-1 | Chrome Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 | 5x5x5 | 1 | 24
UPC-56TB-CHR-6 | Chrome Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 137
UPC-57T-B-1 | Outlet, TFS, Wood, Birch, Face Plate Only | 1 | 5x5x5 | 1 | 87
UPC-57T-B-6 | Outlet, TFS, Wood, Birch, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 483
UPC-57T-B-F-1 | Wood Outlet, TFS, Flush Mount, Birch, Face Plate Only | 1 | 5x5x5 | 1 | 87
UPC-57T-B-F-6 | Wood Outlet, TFS, Flush Mount, Birch, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 483
UPC-57T-C-1 | Outlet, TFS, Wood, Cherry, Face Plate Only | 1 | 5x5x5 | 1 | 78
UPC-57T-C-6 | Outlet, TFS, Wood, Cherry, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 427
UPC-57T-C-F-1 | Wood Outlet, TFS, Flush Mount, Cherry, Face Plate Only | 1 | 5x5x5 | 1 | 78
UPC-57T-C-F-6 | Wood Outlet, TFS, Flush Mount, Cherry, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 427
UPC-57T-K-1 | Outlet, TFS, Wood, Knotty Pine, Face Plate Only | 1 | 5x5x5 | 1 | 90
UPC-57T-K-6 | Outlet, TFS, Wood, Knotty Pine, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 495
UPC-57T-K-F-1 | Wood Outlet, TFS, Flush Mount, Knotty Pine, Face Plate Only | 1 | 5x5x5 | 1 | 90
UPC-57T-K-F-6 | Wood Outlet, TFS, Flush Mount, Knotty Pine, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 495
UPC-57T-MA-1 | Outlet, TFS, Wood, Maple, Face Plate Only | 1 | 5x5x5 | 1 | 74
UPC-57T-MA-6 | Outlet, TFS, Wood, Maple, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 413
UPC-57T-MA-F-1 | Wood Outlet, TFS, Flush Mount, Maple, Face Plate Only | 1 | 5x5x5 | 1 | 74
UPC-57T-MA-F-6 | Wood Outlet, TFS, Flush Mount, Maple, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 413
UPC-57T-MH-1 | Outlet, TFS, Wood, Mahogany, Face Plate Only | 1 | 5x5x5 | 1 | 101
UPC-57T-MH-6 | Outlet, TFS, Wood, Mahogany, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 551
UPC-57T-MH-F-1 | Wood Outlet, TFS, Flush Mount, Mahogany, Face Plate Only | 1 | 5x5x5 | 1 | 101
UPC-57T-MH-F-6 | Wood Outlet, TFS, Flush Mount, Mahogany, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 551
UPC-57T-PI-1 | Outlet, TFS, Wood, Pine, Face Plate Only | 1 | 5x5x5 | 1 | 74
UPC-57T-PI-6 | Outlet, TFS, Wood, Pine, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 413
UPC-57T-PI-F-1 | Wood Outlet, TFS, Flush Mount, Pine, Face Plate Only | 1 | 5x5x5 | 1 | 74
UPC-57T-PI-F-6 | Wood Outlet, TFS, Flush Mount, Pine, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 413
UPC-57T-PO-1 | Outlet, TFS, Wood, Poplar, Face Plate Only | 1 | 5x5x5 | 1 | 74
UPC-57T-PO-6 | Outlet, TFS, Wood, Poplar, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 413
UPC-57T-PO-F-1 | Wood Outlet, TFS, Flush Mount, Poplar, Face Plate Only | 1 | 5x5x5 | 1 | 74
UPC-57T-PO-F-6 | Wood Outlet, TFS, Flush Mount, Poplar, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 413
UPC-57T-RO-1 | Outlet, TFS, Wood, Red Oak, Face Plate Only | 1 | 5x5x5 | 1 | 60
UPC-57T-RO-6 | Outlet, TFS, Wood, Red Oak, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 331
UPC-57T-RO-F-1 | Wood Outlet, TFS, Flush Mount, Red Oak, Face Plate Only | 1 | 5x5x5 | 1 | 60
UPC-57T-RO-F-6 | Wood Outlet, TFS, Flush Mount, Red Oak, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 331
UPC-57T-WL-1 | Outlet, TFS, Wood, Walnut, Face Plate Only | 1 | 5x5x5 | 1 | 92
UPC-57T-WL-6 | Outlet, TFS, Wood, Walnut, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 511
UPC-57T-WL-F-1 | Wood Outlet, TFS, Flush Mount, Walnut, Face Plate Only | 1 | 5x5x5 | 1 | 92
UPC-57T-WL-F-6 | Wood Outlet, TFS, Flush Mount, Walnut, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 511
UPC-57T-WO-1 | Outlet, TFS, Wood, White Oak, Face Plate Only | 1 | 5x5x5 | 1 | 111
UPC-57T-WO-6 | Outlet, TFS, Wood, White Oak, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 606
UPC-57T-WO-F-1 | Wood Outlet, TFS, Flush Mount, White Oak, Face Plate Only | 1 | 5x5x5 | 1 | 111
UPC-57T-WO-F-6 | Wood Outlet, TFS, Flush Mount, White Oak, Face Plate Only (6 pcs) | 6 | 8x8x5 | 3 | 606
UPC-58-1-15 | Supply Outlet, Round, Plastic, 15° Sloped | 1 | 5x5x5 | 1 | 52
UPC-58-1-25 | Supply Outlet, Round, Plastic, 25° Sloped | 1 | 5x5x5 | 1 | 36
UPC-59-2430 | Return Air Adapter (fits to M2430CL1-A,B, C or E coil modules),14" duct | 1 | 23x15x13 | 6 | 135
UPC-59-3036 | Return Air Adapter (fits M3036CL1- A, B, C or E coil modules) 16" duct | 1 | 17x38x13 | 8 | 165
UPC-59-3642 | Return Air Adapter (fits to M3642CL1-B, C or E coil module), for 18" duct | 1 | 17x38x13 | 8 | 165
UPC-59-4860 | Return Air Adapter (fits to M4860CL1-B, C or E coil module), for 20" duct | 1 | 16x16x36 | 14 | 184
UPC-61-1218 | Adapter, Supply, Round, 7" | 1 | 16.75x11x9 | 3 | 57
UPC-61-2430 | Adapter, Supply, Round, 7" | 1 | 16.75x11x9 | 3 | 57
UPC-61-3036 | Adapter, Supply, Round, 9 | 1 | 11x11x4.5 | 4 | 60
UPC-61-3642 | Adapter, Supply, Round, 9 | 1 | 20x12x9 | 3 | 60
UPC-61-4860 | Adapter, Supply, Round, 10" | 1 | 20x12x9 | 4 | 65
UPC-62 | Adapter Kit, Supply Collar, 8.5" sq | 1 | 10x10x2.5 | 2 | 38
UPC-62-1218 | Adapter, Supply, Square, 8.5" ID | 1 | 10x10x2.5 | 3 | 48
UPC-62-2430 | Adapter, Supply, Square, 8.5" ID | 1 | 10x10x2.5 | 2 | 57
UPC-62-3036 | Adapter, Supply, Square 10.5 " ID | 1 | 20x12x9 | 3 | 60
UPC-62-3642 | Adapter, Supply, Square, 10.5" ID | 1 | 11x11x4.5 | 4 | 60
UPC-62-4860 | Adapter, Supply, Square, 11.5" ID | 1 | 12x12x12 | 2 | 65
UPC-63-3036 | Vertical Installation Kit with 6" spacer module | 1 | 17x38x6 | 13 | 217
UPC-63A | Vertical Installation Kit with 6" spacer module (2430) | 1 | 29x19x8 | 11 | 266
UPC-64A | Vertical Installation Kit with 6" spacer module | 1 | 41x19x8 | 13 | 420
UPC-65 | Mild Weather Kits, R-22 only (recommended for heat pumps) | 1 | 5x5x5 | 1 | 127
UPC-65X | Mild Weather Kits, R-410A only (recommended for heat pumps) | 1 | 5x5x5 | 1 | 214
UPC-66 | Outlet Assy, Slot, 90deg, Aluminum | 1 | 16x17x4 | 4 | 202
UPC-67TA | UPC-67TA, Twist Fit 90° Slotted Outlet, 2", White, 1/2" x 8" opening | 1 | 16x17x4 | 2 | 170
UPC-67-BRKT | Mounting Bracket, Outlet, Slot | 1 | 16x17x4 | 3 | 42
UPC-68T | UPC-68T, Twist Fit Straight Slotted Outlet, 2", White, 1/2" x 8" opening | 1 | 10x10x11 | 2 | 170
UPC-84-5 | Outlet Kit, Short Rigid 1' Attenuator(for 1" duct board plenum) | 5 | 10x11x17 | 4 | 350
UPC-85-5 | Outlet Kit, Short Rigid 1' Attenuator(for metal plenum) | 5 | 10x11x17 | 4 | 350
UPC-86-5 | Frame-in Kits, 2" | 5 | 10x11x17 | 5 | 153
UPC-88-20 | Screen, Outlet, White | 20 | 5x5x5 | 1 | 57
UPC-88-20-BLK | Screen, Outlet, Black | 20 | 5x5x5 | 1 | 57
UPC-89TF-1 | Install Kit, 2", 1" Fiberglass Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Spin-in Take Off, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) Aluminum Core Clamps (black), (2) zip ties, (2) extra TFS Gaskets | 1 | 5.5x5.5x5.5 | 1 | 24
UPC-89TF-6 | Install Kit, 2", 1" Fiberglass Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Spin-in Take Offs, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (8) Aluminum Core Clamps (black), (8) zip ties, (2) extra TFS Gaskets | 6 | 10.5x10.5x5 | 3 | 123
UPC-89TFR6-1 | Install Kit, 2", 1.5" Fiberglass Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) R6 Spin-in Take Off, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) Aluminum Core Clamps (black), (2) zip ties, (2) extra TFS Gaskets | 1 | 5.5x5.5x5.5 | 1 | 37
UPC-89TFR6-6 | Install Kit, 2", 1.5" Fiberglass Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) R6 Spin-in Take Offs, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (8) Aluminum Core Clamps (black), (8) zip ties, (2) extra TFS Gaskets | 6 | 10.5x10.5x5 | 3 | 183
UPC-89TM-1 | Install Kit, 2", Round Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for round metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gaskets | 1 | 5.5x5.5x5.5 | 1 | 19
UPC-89TM-6 | Install Kit, 2", Round Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for round metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 | 10.5x10.5x5 | 3 | 92
UPC-89TMF-1 | Install Kit, 2", Flat Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for flat metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gasket | 1 | 5.5x5.5x5.5 | 1 | 19
UPC-89TMF-6 | Install Kit, 2", Flat Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for flat metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 | 10.5x10.5x5 | 3 | 92
UPC-94 | Secondary Drain Pan for 1218 | 1 | 42x24x2 | 12 | 149
UPC-98 | Mounting Rails for 1218 | 1 | 36x25x21 | 5 | 74
USM-01 | Duct,Galv,7Dx5'x28GA (1 piece) | 1 | 11x11x63 | 10 | 30
USM-02 | Duct,Galv,9Dx5'x28GA (1/piece) | 1 | 11x11x63 | 10 | 70
USM-03 | Elbow,Galv,7Dx28 GA. (1/piece) | 1 | 23x15x14 | 5 | 15
USM-04 | Elbow,Galv,9Dx28GA. (1/piece) | 1 | 23x15x14 | 5 | 23
USM-05 | End Cap,Galv,Uncrmp,7" I.D. (1/piece) | 1 | 23x15x14 | 5 | 28
USM-06 | End Cap,Galv,Uncrmp,9" I.D. (1/piece) | 1 | 23x15x14 | 5 | 32
USM-07 | Tee,Galv,7Dx28GA (1/piece) | 1 | 23x15x14 | 5 | 95
USM-08 | Tee,Galv,9Dx28GA (1/piece) | 1 | 23x15x14 | 5 | 112
USM-09 | Tee,Reducer,Galv, 9x7x7x28GA (1/piece) | 1 | 23x15x14 | 5 | 59
USM-10 | Insul,Sleeve,Silver,7Dx5'x2" R6 (1/piece) | 1 | 23x15x14 | 5 | 50
USM-10-R8 | Insul,Sleeve,Silver,7Dx5'x2" R8 (1/piece) | 1 | 23x15x14 | 5 | 64
USM-11 | Insul,Sleeve,Silver,9Dx5'x2" R6 (1/piece) | 1 | 23x15x14 | 5 | 46
USM-11-R8 | Insul,Sleeve,Silver,9Dx5'x2" R8 (1/piece) | 1 | 23x15x14 | 5 | 51
USM-12 | Reducer,Galv,9x7x28GA (1/piece) | 1 | 23x15x14 | 5 | 12
USM-13 | Duct,Galv,10Dx5'x28GA (1/piece) | 1 | 12x12x63 | 10 | 42
USM-14 | Elbow,Galv, 10" (1/piece) | 1 | 23x15x14 | 5 | 19
USM-15 | Tee,Galv, 10" (1/piece) | 1 | 23x15x14 | 5 | 85
USM-16 | Insul,Sleeve,Silver, 10Dx5'x2" R6 (1/piece) | 1 | 23x15x14 | 5 | 45
USM-16-R8 | Insul,Sleeve,Silver, 10Dx5'x2" R8 (1/piece) | 1 | 23x15x14 | 5 | 76
USM-17 | Reducer,Galv, 10" X 9" (1/piece) | 1 | 23x15x14 | 5 | 17
USM-18 | End Cap,Galv, Galv, 10" (1/piece) | 1 | 23x15x14 | 5 | 13
USM-19 | Tee,Galv, Reducer, 10 X 9 X 9" (1/piece) | 1 | 23x15x14 | 5 | 38
UVC1-09 | UV Light Module Assembly, Cabinet Only | 1 | 15.25x15.25x14 | 7 | 552
UVL1-09 | UV Light Module Assembly | 1 | 28.25x15x13.25 | 11 | 1350
V2430B-1EA2AX | Vertical Air Handler Unit, 2430, 230V, iSeries NO HWC | 1 | 27x22x44 | 177 | 5720
V2430B-1EC2BH | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) with HWC | 1 | 27x22x44 | 202 | 6170
V2430B-1EC2BHC | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) with HWC, E-Coated | 1 | 27x22x44 | 202 | 6483
V2430B-1EC2BX | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) NO HWC | 1 | 27x22x44 | 169 | 5305
V2430B-1EC2BXC | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) NO HWC, E-Coated | 1 | 27x22x44 | 169 | 5563
V2430B-1EC2CH | Vertical Air Handler, SCB Variable Speed, 120/208/230V, Chilled Water, with HWC | 1 | 27x22x44 | 202 | 6718
V2430B-1EC2CX | Vertical Air Handler, SCB Variable Speed, 120/208/230V, Chilled Water, NO HWC | 1 | 27x22x44 | 177 | 6214
V2430B-1EC2EH | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (HP) with HWC | 1 | 27x22x44 | 210 | 6360
V2430B-1EC2EHC | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (HP) with HWC, E-Coated | 1 | 27x22x44 | 210 | 6674
V2430B-1EC2EX | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (HP) NO HWC | 1 | 27x22x44 | 177 | 5586
V2430B-1EC2EXC | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (HP) NO HWC, E-Coated | 1 | 27x22x44 | 177 | 5755
V3036B-1EC2BH | Vertical Air Handler, SCB Variable Speed, 120/208/230V,3 Row Coil, (AC) with HWC | 1 | 27x25x44 | 239 | 6999
V3036B-1EC2BHC | Vertical Air Handler, SCB Variable Speed, 120/208/230V,3 Row Coil, (AC) with HWC, E-Coated | 1 | 27x25x44 | 239 | 7313
V3036B-1EC2BX | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) NO HWC | 1 | 27x25x44 | 191 | 5966
V3036B-1EC2BXC | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) NO HWC, E-Coated | 1 | 27x25x44 | 191 | 6165
V3036B-1EC2CH | Vertical Air Handler, SCB Variable Speed, 120/208/230V, Chilled Water, with HWC | 1 | 27x25x44 | 191 | 7259
V3036B-1EC2CX | Vertical Air Handler, SCB Variable Speed, 120/208/230V, Chilled Water, NO HWC | 1 | 27x25x44 | 191 | 6632
V3036B-1EC2EH | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (HP) with HWC | 1 | 27x25x44 | 248 | 7074
V3036B-1EC2EHC | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (HP) with HWC, E-Coated | 1 | 27x25x44 | 248 | 7387
V3036B-1EC2EX | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (HP) NO HWC | 1 | 27x25x44 | 200 | 6264
V3036B-1EC2EXC | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (HP) NO HWC, E-Coated | 1 | 27x25x44 | 200 | 6498
V3642B-1EC2BH | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) with HWC | 1 | 31x26x46 | 263 | 7395
V3642B-1EC2BHC | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) with HWC, E-Coated | 1 | 31x26x46 | 263 | 7864
V3642B-1EC2BX | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) NO HWC | 1 | 31x26x46 | 215 | 6156
V3642B-1EC2BXC | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) NO HWC, E-Coated | 1 | 31x26x46 | 215 | 6626
V3642B-1EC2CH | Vertical Air Handler, SCB, Variable Speed, 120/208/230V, Chilled Water, with HWC | 1 | 31x26x46 | 227 | 7884
V3642B-1EC2CX | Vertical Air Handler, SCB Variable Speed, 120/208/230V, Chilled Water, NO HWC | 1 | 31x26x46 | 227 | 7196
V3642B-1EC2EH | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (HP) with HWC | 1 | 31x26x46 | 275 | 7612
V3642B-1EC2EHC | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (HP) with HWC, E-Coated | 1 | 31x26x46 | 275 | 8080
V3642B-1EC2EX | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (HP) NO HWC | 1 | 31x26x46 | 227 | 6373
V3642B-1EC2EXC | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 4 Row Coil, (HP) NO HWC, E-Coated | 1 | 31x26x46 | 227 | 6841
WON0202-C | Furnace, Electric, 2 kW, 1P/230V (matches all models)** | 1 | 16x20x29 | 22 | 904
WON0502-C | Furnace, Electric, 5 kW, 1P/230V (matches all models)** | 1 | 16x20x29 | 22 | 948
WON0752-C | Furnace, Electric, 7.5 kW, 1P/230V (matches all models)** | 1 | 16x20x29 | 29 | 1074
WON0754-C | Furnace, Electric, 7.5 kW, 3P/230V (matches all models)** | 1 | 16x20x29 | 29 | 1149
WON1002-C | Furnace, Electric, 10 kW, 1P/230V (matches 2430, 3036, 3642 4860)** | 1 | 16x20x29 | 35 | 1171
WON1004-C | Furnace, Electric, 10 kW, 3P/230V (matches 2430, 3036, 3642, 4860)** | 1 | 16x20x29 | 28 | 1246
WON1502-C | Furnace, Electric, 15 kW, 1P/230V (matches 2430, 3036, 3642, 4860)** | 1 | 16x20x29 | 36 | 1938
WON1504-C | Furnace, Electric, 15 kW, 3P/230V (matches 2430, 3036, 3642, 4860)** | 1 | 16x20x29 | 36 | 1955
WON2002-C | Furnace, Electric, 20 kW, 1P/230V (matches 3036, 3642, 4860)** | 1 | 39x19x13 | 51 | 2128